## Help
This is the template for adding meters to VERIFI.
This template is used both for setting up an initial data upload and for updating VERIFI each month, if you choose not to enter data manually within VERIFI. When uploading, you will be able to either replace your existing data (if you changed or updated some value entered previously) or ignore existing data and only upload what is new.
Meters-Utilities
First start with the Meters-Utilities Tab where you will setup the different energy inputs into your facility.
You can add an entry for each meter in your facility, or rollup similar meters together. If you choose to add an entry for each incoming meter, VERIFI can help you merge them in the "Meter Grouping" section, so you can group all your electricity or other utilities together for analysis.
Each column represents a data point needed for VERIFI to setup a meter:
Meter Number is used as a unique identifier for each data stream, it can be your actual meter number or a self assigned number to keep all your energy uses separate.
Source represents the type of data being monitored: Electricity, Natural Gas, Other Fuels, Water, Wastewater, or other Utilities.
Phase and Fuel are only used for "Other Fuels" and help set the possible values for "Collection Unit".
Collection Unit is the unit you are billed for (Natural Gas could be in MMBTU or in SCF)
Heat Capacity is the energy used for each unit of the collection unit (if the collection unit is not already an energy unit). VERIFI has some default values for this if you are unsure.
Account Number, Meter Name, Utility Supplier, Notes, Building/Location are all for your own note keeping / ease of use.
Meter Group can be set in VERIFI and allows you to group multiple meters together for analysis.
Site-to-Source is a factor used to convert site energy to source energy for Better Plants Reporting
Once this is setup, you should not need to enter data here again.
Meter Data Entry
When entering data, each row represents a month for a single meter. Including the meter number for each row allows you to enter data for all electricity meters on the same import file.
You also do not have to "calendarize" your data before hand: if your meter is read in the middle of the month, VERIFI will help adjust your data to monthly data.
Electricity
The Electricity Tab is where you enter the data for your electricity meters. Electricity is a separate entry because VERIFI allows you to track a lot more data for electricity (such as data relating to demand and other charges) to help you perform an Electricity Meter Analysis.
Non-electricity
This tab is where you enter data for any other utility you wish to track, just be sure to have the correct meter number for each row.

## Meters-Utilities
Meter Number | Account Number | Source | Meter Name | Utility Supplier | Notes | Building / Location | Meter Group | Phase | Fuel | Collection Unit | Heat Capacity | Site To Source

## Electricity
Meter Number | Read Date | Total Energy | Total Demand | Total Cost | Basic Charge | Supply Block Amount | Supply Block Charge | Flat Rate Amount | Flat Rate Charge | Peak Amount | Peak Charge | Off Peak Amount | Off Peak Charge | Demand Block Amount | Demand Block Charge | Generation and Transmission Charge | Delivery Charge | Transmission Charge | Power Factor Charge | Local Business Charge | Local Utility Tax | Late Payment | Other Charge

## Non-electricity
Meter Number | Read Date | Total Consumption | Total Cost | Commodity Charge | Delivery Charge | Other Charge

## HIDE (hidden)
Sources
Electricity
Natural Gas
Other Fuels
Other Energy
Water
Waste Water
Other Utility
OtherFuelsSLG | OtherEnergySLG | ElectricitySLG | NaturalGasSLG | WaterSLG | WasteWaterSLG | OtherUtilitySLG
Solid
Liquid
Gas
OtherFuelsGasFuel | OtherFuelsLiquidFuel | OtherFuelsSolidFuel | OtherEnergyFuel | ElectricityFuel | NaturalGasFuel | WaterFuel | WasteWaterFuel | OtherUtilityFuel
Blast Furnace Gas | Benzene | Biomass | District Hot Water
Butane | Biodiesel (100%) | Black Liquor | Purchased Chilled Water (Absorption Chiller)
Coke Oven Gas | Butane | Coal (anthracite) | Purchased Chilled Water (Electric-driven Compressor)
Isobutane | Butene | Coal (bituminous) | Purchased Chilled Water (Engine-driven Compressor)
Landfill Gas | Crude Oil | Coal | Purchased Steam
Liquefied Petroleum Gas (LPG) | Diesel | Coke
Oil Gases | Distillate Fuel Oil | Peat
Propane | Ethanol (100%) | Scrap Tires
| Ethyl Alcohol | Sulfur
| Ethylene | Wood
Fuel Oil #1
Fuel Oil #2
Fuel Oil #4
Fuel Oil #5
Fuel Oil #6 (high sulfur)
Fuel Oil #6 (low sulfur)
Gas Oil
Gasoline
Heating Oil
Isobutane
Kerosene
Liquefied Natural Gas (LNG)
LPG
Methyl Alcohol
Pentane
Pentene
Propane
Propylene
Residual Fuel Oil
Toluene
Xylene
Electricityunits | NaturalGasunits | OtherFuelsGasunits | OtherFuelsLiquidunits | OtherFuelsSolidunits | OtherEnergyunits | Waterunits | WasteWaterunits | OtherUtilityunits
kWh | kWh | kWh | kWh | kWh | kWh | ft3 | ft3 | ft3
MWh | MWh | MWh | MWh | MWh | MWh | gal | gal | gal
MMBTu | MMBTu | MMBTu | MMBTu | MMBTu | MMBTu | m3 | m3 | m3
GJ | GJ | GJ | GJ | GJ | GJ | L | L | L
MJ | MJ | MJ | MJ | MJ | MJ
kJ | kJ | kJ | kJ | kJ | kJ
Therms | Therms | Therms | Therms | Therms | Therms
Dtherms | Dtherms | Dtherms | Dtherms | Dtherms | Dtherms
kcal | kcal | kcal | kcal | kcal | kcal
| SCF | SCF | ft3 | lb | lb
| Nm3 | Nm3 | gal | kg | kg
| CCF | CCF | m3 | tons | tons
| SCF | SCF | L | metric tonnes | metric tonnes